Happy Haven Day Care

Network Proposal

Consultant: Christian Hill

Macro Computer Consultants

Overview

- Cable

  - CAT5e Ethernet Patch Cord, 24 AWG UTP cable

    - 25 bulk pack

    - 1ft

    - $12.96 or 25.92 for two

  - CAT5e Ethernet Patch Cord, 24 AWG UTP cable

    - 25 bulk pack

    - 5ft

    - $24.24

  - CAT5e Ethernet Patch Cord, 24 AWG UTP cable

    - 25 bulk pack

    - 10ft

    - $42.00

  - CAT5e Ethernet Patch Cord, 24 AWG UTP Plenum cable

    - 25 bulk pack

    - 50ft

    - $145.00

  - B-Line J-Hook, 30lb. max load capacity

    - $99.00

  - Nylon 6/6 cable Tie kit, assorted colors, 100 pieces

    - $33.50

- Switch

  - Cisco Small Business 200 series SLM2048T-NA

    - 48 ports

    - Supports up 1000MBPs

    - Supports power over Ethernet (PoE)

    - $428.98

- Server

  - HPE ProLiant ML110 Gen9 tower server

    - Automates the most essential server life cycle management tasks

    - Deploy, update, monitor, and maintain with ease

    - 10 TB SAS/SATA Hard Disk Drive

    - 8 GBs of RAM

    - $872.99

- Server Rack

  - Tripp Lite 12U Wall-Mount Rack Enclosure Cabinet

    - Maximum load capacity of 200 lbs.

    - Swings away from wall on hinge for easy back-door access

    - $322.76

  - 48-Port 2U Rack-Mount Patch Panel

    - functionality and compatibility

    - will save you valuable space in on the rack

    - $87.00

- Server uninterruptible power supply

  - APC BR1500G Backups Pro 1500 VA 10 outlets UPS

    - Guaranteed protection and battery backup power for your valuable electronics, ensuring they remain safe from dangerous power disturbances

    - Guaranteed protection from surges and spikes caused by storms, lightning, circuit overloads, power cycling, etc.

    - $167.32

- Surge protector

  - Tripp Lite Protect it! TLP1008TEL

    - 10 outlets with 2395 joule surge suppressor

    - Lifetime Warranty and $150,000 Ultimate Lifetime Insurance for connected devices.

    - $25.00

- External Hard Drive

  - Seagate Expansion 8 TB External HDD

    - no longer need an extra power source

    - All aluminum enclosure for simplicity and durability

    - $149.99

- Monitors

  - HP 2V2311 23” widescreen LED LCD Monitor

    - VGA

    - Stand included

    - $64.99 each or $1,949.70 for 30 stations

  - Generic VGA Cable

    - $2.49 each or $74.70 for 30 stations

Class Rooms

- Workstations

  - HP ProDesk 400 G3 Small Form Factor Desktop PC

    - Windows 10 pro 64

    - 4GB RAM

    - 500GB Hard Drive

    - Keyboard

    - Mouse

    - Warranty

    - $451.94 each or $2,711.64 for 6 workstations

Computer Lab

- Work Stations

  - HP ProDesk 400 G3 Small Form Factor Desktop PC

    - Windows 10 pro 64

    - 4GB RAM

    - 500GB Hard Drive

    - DVD ROM

    - Keyboard

    - Mouse

    - $581.15 each or $11,623.00 for 20 stations

- Printer

  - HP LaserJet Pro M501dn Monochrome Laser Printer

    - $399.99

  - HP 87A Black Original LaserJet toner cartridge CF287A

    - Reliable and standard

    - Lasts up to 9,000 pages

    - $236.99 each

Administration Offices

- Desktop

  - HP ProDesk 400 G3 Small Form Factor Desktop PC

    - Windows 10 pro 64

    - intel® Core™ i3-6300

    - 4GB RAM

    - 1TB Hard Drive

    - DVD drive

    - Keyboard

    - Mouse

    - $1,250.80 for two

- Printer

  - HP LaserJet Pro MFP M521dn

    - Print, copy, scan, and fax

    - $699.99

  - HP 55X 2-pack High Yield Black Original LaserJet toner cartridges CE255XD

    - Includes 2 cartridges

    - Lasts 12,500 pages per cartridge

    - $450.99

Security

- Cameras

  - Zmodo 4 Channel HD Security Camera PoE System

    - Simplified Power over Ethernet means the IP cameras connect to the NVR with a single cable that transmits both data and power, allowing for an easy installation and setup

    - 4 HDMI High Resolution NVR + (4) 720p HD cameras

    - Record up to 100 days for 4 cameras

    - Control and view your security kits from anywhere on your smart phone using the free Zmodo app

    - $229.99

Software

- Microsoft Office Products 2016

  - Microsoft Office Home and Business 2016

    - 1 PC (1 License)

    - $105.99 or $2649.75 for 25 computers

- Windows server 2008

  - Windows Essential Business Server 2008

    - Combines several Microsoft server products and technologies into a single, integrated solution

    - Provides tools to create application add-ins and security adapter add-ins to manage additional applications and security issues

    - $0.00 (free as of 2010)

- Security

  - McAfee Complete EndPoint Protection Business

    - an all-in-one solution that provides endpoint security for key devices in your enterprise

    - anti-malware, firewall, device control, and email and web security

    - $129.99

  - McAfee Complete EndPoint Protection Business Licenses

    - 25-50 users and 1 Year Gold Business Support

    - $23.56

Labor

- Installation

  - Hourly rate

    - 8 hours * $90 hourly rate = $720 a day

    - After 5-day completion: $3,600.00

Budget

- Cable: 1,000 ft.									$193.14

- Wireless Access Points: 5 access points					$679.95

- Router: 1 Router for computer lab						$199.99

- Switch: 1 switch for the server closet						$428.98

- Server: For the server closet							$1086.99

- Server Rack: For the sever closet including the patch panel 			$409.76

- Server uninterruptible power supply: For the server closet			$167.32

- Surge Protector: for all electronics						$25.00

- External Hard Drive: for the server closet					$149.99

- Monitors/VGA cables: for 30 workstations					$2,024.40

- Employee Workstations: 6 for each classroom				$2,711.64

- Computer Lab Workstations: 20 for the Computer Lab			$11,623.00

- Admin Desktop: For both Admin office					$1250.80

- Docking station: For laptop in front admins office				$94.99

- Printers:1 in Admin’s office and 1 in the Computer Lab			$1,099.98

- Printer ink: for both printers							$687.98

- Camera System: 4 cameras for the building					$299.99

- Microsoft Office Home and Business 2016: for 25 computers			$2,649.75

- Windows Server 2008: software and licenses					$0.00

- Internet Security: McAfee security including 50 licenses			$153.55

- Labor: My work for 5 days 							$3,600.00

TOTAL: $29,537.20

Legend

Notes

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________